## Slide 1
Underwater Ultrasonic Interface Level Measurement
(It’s Not Just About Sludge Blanket Anymore)
Gilson Engineering
May 8, 2020
Michael Emmanuel
ATI-Entech Design

## Slide 2
Underwater Ultrasonic Interface Level Measurement
(It’s Not Just About Sludge Blanket Anymore)
      Interfaces
        Sludge
        Filter Media
      How they work
      Examples and Benefits
        Sludge Blanket Monitors
        Filter Backwash Monitor
      Installation Configurations

## Slide 3
What is an “Interface”?
Interface - a SURFACE regarded as the common boundary of two bodies, spaces, or phases. ~ Webster

## Slide 4
Where’s the Interface?

## Slide 5
Where’s the Interface?
Foam/Air
Foam/Dark
Glass/Dark
Dark/Light
Light/Glass
Glass/Table
Table/Air
Glass/Air
Foam/Glass

## Slide 6
Some Common Interface
Measurement Methods in Water and Wastewater Plants

## Slide 7
“Sludge Judge”

## Slide 8
Smart, Flexible, Friendly!
Portable TSS Meter

## Slide 9
Smart, Flexible, Friendly!
Secchi Disk

## Slide 10
Smart, Flexible, Friendly!
Media Expansion: “Cups On a Stick”

## Slide 11
Smart, Flexible, Friendly!
“Organ Pipes” or “Pan Pipes”

## Slide 12
Smart, Flexible, Friendly!
Spiral Pan Pipes

## Slide 13
Smart, Flexible, Friendly!
Questions?

## Slide 14
Smart, Flexible, Friendly!
Why Continuous Monitoring?
These Guys Are Working 24/7/365

## Slide 15
Smart, Flexible, Friendly!
How Do They Work?

## Slide 16
Smart, Flexible, Friendly!
How Do They Work?
(Sludge & Media Level)
Measurement Technique:
Underwater Ultrasonic
(756KHZ)
Time of Flight
d = vt
Unit of Measurement:
M, Ft. , Inches, cm

## Slide 17
Smart, Flexible, Friendly!
Echo Profile of Well-Settled Sludge Blanket

## Slide 18
Smart, Flexible, Friendly!
Echo Profile of Not-So-Well-Settled Sludge Blanket

## Slide 19
Smart, Flexible, Friendly!
Circular Tank Profile
Notes: Graphics view – usually the screen used in day to day plant operations

## Slide 20
Smart, Flexible, Friendly!
Circular Tank Profile
Second Output Available for ‘Fluff’ or ‘Rag’ Layer
Notes: Graphics view – usually the screen used in day to day plant operations

## Slide 21
Smart, Flexible, Friendly!
Questions?

## Slide 22
Examples and Benefits of Continuous Monitoring
(Snapshots vs. Video)

## Slide 23
Snapshot vs. Continuous Monitoring

## Slide 24
Snapshots vs. Continuous Monitoring

## Slide 25
Snapshot vs. Continuous Monitoring

## Slide 26
Smart, Flexible, Friendly!
Benefits of Continuous Monitoring

## Slide 27
Smart, Flexible, Friendly!
Benefits of Continuous Monitoring

## Slide 28
Reliability

## Slide 29
Reliability

## Slide 30
Smart, Flexible, Friendly!
Continuous Monitoring Even in Bad Weather
Trend Data in SCADA
Trends Provide Feedback on Settling Conditions
Optimize RAS and WAS Pumping
Maximize Underflow Concentration & Prevent Solids Washout
Generate Warnings and Alarms
Minimize Human Exposure to Unsanitary Process Environments In WWTPs
Reliability and Confidence
Compare Trends - Gain Insights
Benefits of Sludge Blanket Monitors

## Slide 31
Smart, Flexible, Friendly!
Questions?

## Slide 32
Smart, Flexible, Friendly!
FILTERING
BACKWASHING
In-Filter Monitoring Of
Media Expansion and Turbidity

## Slide 33
Smart, Flexible, Friendly!
Level & Turbidity Sensor
Measure Media Level and Turbidity In the Filter
Optimum Expansion
  PLUS
Optimum Duration
Equals
Optimized Backwash!

## Slide 34
How Do They Work?
Turbidity
Measurement Technique:
In-Situ Turbidity Measurement
90 Degree Scattered Light Turbidity Sensor
Unit of Measurement:
NTU
Infrared LED Light Source
Incident Light
Sample
Undisolved Material
Turbidity Value
Photodiode Receptor
Filter

## Slide 35
They Work Pretty Well

## Slide 36
Smart, Flexible, Friendly!
Echo Profile of Filter Monitor

## Slide 37
Smart, Flexible, Friendly!
FILTERING
BACKWASHING
Anatomy of a Backwash

## Slide 38
Smart, Flexible, Friendly!
Get The Whole Picture

## Slide 39
Percent Bed Expansion
Resting
Media
Level
Max
Expansion
Media Depth
Support Structure
Net
Expansion

## Slide 40
Percent Bed Expansion
% Expansion = Net Expansion X100%
Media Depth
Example: Media Depth = 37 inches
Net Expansion = 9 inches
% Expansion = (9*100%) = 24%
37

## Slide 41
How Much Expansion is Best?
“A proper backwash rate should expand the filter 20-25%, but expansion can be as high as 50%”
~USEPA Technical Guidance Manual 2004

## Slide 42
Turbidity Endpoint
(or, When Does It All Stop!?!?)
“10-15 NTU”
~ Kawamura, 2000
Turbidity left in filter after backwash helps ‘ripen’ the filter and can reduce filter-to-waste

## Slide 43
Smart, Flexible, Friendly!
No More Surrogate Measurements
Measure What’s of Interest:
Media Expansion
Turbidity

## Slide 44
Smart, Flexible, Friendly!
Questions?

## Slide 45
Smart, Flexible, Friendly!
“See” Elements of the Process

## Slide 46
Smart, Flexible, Friendly!
A Most Excellent Backwash Profile

## Slide 47
Smart, Flexible, Friendly!
Minimize Turbidity Persistence

## Slide 48
Go High or Go Low???

## Slide 49
Go High or Go Low???

## Slide 50
Smart, Flexible, Friendly!
“Conditional” Backwash Control

## Slide 51
Smart, Flexible, Friendly!
Why Waste H2O? Sell It!

## Slide 52
Smart, Flexible, Friendly!
Easy to Calculate Payback

## Slide 53
Smart, Flexible, Friendly!
Easy to Calculate Payback

## Slide 54
10 Minutes of Overwashing

## Slide 55
7 Minute Reduction

## Slide 56
BW H2O Reduced By Half

## Slide 57
Smart, Flexible, Friendly!
Questions?

## Slide 58
Smart, Flexible, Friendly!
CASE STUDY
Punta Gorda Florida WTP
10MGD Facility
Two 4-Cell Greenleaf Filters
4 Solids Contact Units
Hi BW Flow Rate = 5,200gpm
Cost of 1000gal = $1.73

## Slide 59
Low Loading? Extend Filter Run!
Plenty of Expansion ~ 37%
Very Little Turbidity

## Slide 60
Step One:
Filter Run Times Extended
From 70 to 120 hours
70% INCREASE in Run Time
40% DECREASE in Wash Water Used
$65,000 SAVINGS

## Slide 61
Step Two:
Reduced BW Duration by 4 Minutes
(4 mins x 5200gpm = 20,800gal saved per wash)
8 cells washed every 120 Hrs = 584 washes/yr
584 washes x 20,800gal = 12.1Mgal
12.1Mgal x$1.73/1000gal = $21,00 SAVINGS

## Slide 62
Step Two:
Reduced BW Duration by 4 Minutes
Before: 90,100Gal Used Each Wash
After: 68,000Gal Used Each Wash
24% Reduction in Backwash Water

## Slide 63
Total Savings:
Extending Filter Runs $65,000
Shortening Backwash Cycle $21,000
Total Savings $86,000

## Slide 64
But Wait! There’s More!!
Unexpected Benefits in the
Sludge Handling/Drying Process

## Slide 65
Sludge Handling/Drying

## Slide 68
Sludge Handling/Drying

## Slide 69
Sludge Handling/Drying
Reduced Pumping Costs
Reduced Hydraulic Loading to Drying Beds

## Slide 71
Sludge Handling/Drying
Reduced Need for Sand to Line the Drying Beds
“Haven’t Ordered Sand in Last Couple of Years”
$200-$300K Per Year

## Slide 72
Smart, Flexible, Friendly!
Questions?

## Slide 73: 3 Basic Installation Configurations

## Slide 75
Smart, Flexible, Friendly!

## Slide 76
Smart, Flexible, Friendly!

## Slide 77
Smart, Flexible, Friendly!
Questions?

## Slide 78
Smart, Flexible, Friendly!
Remote Monitoring via Cell Modem
Cellular Modem in the Controller
All Settings Available for Remote Startup
24/7 Secure Access to All Sensors in the Network for Monitoring & Support
Loaner Units Available

## Slide 79
Smart, Flexible, Friendly!

## Slide 80
Smart, Flexible, Friendly!
Questions?

## Slide 81
Smart, Flexible, Friendly!
Thank You!
ATI-Entech Design Products
Local Representative:
Gilson Engineering